## Slide 1
소프트웨어 구성도
KT목동전산센터(PDC영역)
[발행]즉석
[발행]추첨#1,#2
[발행]DB#1,#2
[발행]통신#1,#2
[발행]내부관리#1,#2
[발행]추첨기#1,#2,#3
판매 WAS#1,#2
판매 DB#1,#2
판매 통신#1,#2
판매 내부관리#1,#2
인쇄 WAS#1,#2
인쇄 DB#1,#2
암호화서버 #1 ~ 2
게임관리서버 #1 ~ 2
게임DB서버 #1 ~ 2
분배서버 #1 ~ 2
통합백업서버 #1 ~ 2
연계HUB #1 ~ 2
hostname | PEAIHUBSVR01,02
model | IBM P710
cpu | 3.6 GHz * 2 core
memory | 8 GB
disk | 300 GB * 2 Disk
AIX 6.1
EAI - MocoMSys. Midas
HACMP 이중화
hostname | PGAMEMNG01,02
model | IBM P720
cpu | 2.4 GHz * 2 core
memory | 16 GB
disk | 300 GB * 2 Disk
hostname | PGAMEDB01, 02
model | IBM P760
cpu | 2.4 GHz * 6 core
memory | 56 GB
disk | 300 GB * 2 Disk
hostname | PUPDATESVR01,02
model | IBM P710
cpu | 2.4 GHz * 2 core
memory | 8 GB
disk | 300 GB * 2 Disk
hostname | PBACKUPSVR
model | IBM X3650 M4
cpu | 2.6 GHz * 6
memory | 16 GB
disk | 300 GB * 2 Disk
hostname | PENCRYPT01, 02
model | IBM X3650 M4
cpu | 2.4 GHz * 8 core
memory | 16 GB
disk | 300 GB * 2 Disk
Hostname | elpilp1,2
Model | HP rx2800 i4
CPU | 2.53GHz * 4Core
Memory | 16GB
Disk | 300GB * 2
HP-UX 11.31 ia64
HP-UX 11.31 ia64
HP-UX 11.31 ia64
HP MC/SG
Hostname | elpdlp1,2
Model | HP rx2800 i4
CPU | 2.53GHz * 4Core
Memory | 16GB
Disk | 300GB * 2
Hostname | elpdb1,2
Model | HP rx2800 i4
CPU | 2.53GHz * 8Core
Memory | 32GB
Disk | 300GB * 2
Hostname | elpcs1,2
Model | HP rx2800 i4
CPU | 2.4GHz * 4Core
Memory | 16GB
Disk | 300GB * 2
Hostname | elswas1,2
Model | IBM p710
CPU | 3.6GHz * 4Core
Memory | 16GB
Disk | 300GB * 2
AIX 6.1 ML08
HP-UX 11.31 ia64
AIX 6.1 ML08
AIX 6.1 ML08
Hostname | elsdb1,2
Model | HP rx2800 i4
CPU | 2.4GHz * 4Core
Memory | 16GB
Disk | 300GB * 2
Hostname | elsrs1,2
Model | IBM p710
CPU | 3.6GHz * 4Core
Memory | 16GB
Disk | 300GB * 2
Hostname | elscs1,2
Model | IBM p710
CPU | 3.6GHz * 4Core
Memory | 16GB
Disk | 300GB * 2
Hostname | plwas1,2
Model | IBM X3650 M3,4
CPU | 3.0GHz * 2Core
Memory | 4GB
Disk | 135 GB
RHEL 6.4
RHEL 6.4
Hostname | pldb1,2
Model | IBM X3650 M3
CPU | 2.4 GHz * 2 core
Memory | 4 GB
Disk | 135 GB
Oracle 11g Enterprise RAC
Windows 2012 Std.
Hostname | elplw1,2,3
Model | HP DL380 G8
CPU | 3.0GHz * 2Core
Memory | 2GB
Disk | 160GB * 1
HP MC/SG
Oracle 11g Enterprise RAC
Oracle 11g Enterprise RAC
Jennifer 4.5 agent
Jennifer 4.5 Server/agent
Tmax jeus 6.0
JDK 1.6.0.16
HP-UX 11.31 ia64
Jennifer 4.5 agent
JDK 1.6.0.16
즉석 응용 SW
추첨 응용 SW
내부관리 응용 SW
Hostname | elprs1,2
Model | HP rx2800 i4
CPU | 2.53GHz * 4Core
Memory | 16GB
Disk | 300GB * 2
HP-UX 11.31 ia64
통신 응용 SW
JDK 1.6.0.16
통신서버 #1 ~ 21
hostname | PCOMMGATE01,21
model | IBM X3650 M4
cpu | 2.4 GHz * 8 core
memory | 8 GB
disk | 300 GB * 2 Disk
게임처리서버 #1 ~ 2
hostname | PGAMEHDL01,02
model | IBM P760
cpu | 2.4 GHz * 8 core
memory | 32 GB
disk | 300 GB * 2 Disk
SMS Agent
IBM AIX 6.1
IBM AIX 6.1
RedHat Enterprise Linux 5.8
EZWay
Oracle 11g Enterprise RAC
EZWay
GPFS 스토리지 파일공유
서버보안 Agent
MS Window 2008 R2 SP1
SSL 서버인증서
SMS Agent
Backup Agent (NetWorker)
IBM AIX 6.1
Apache Web Server 2.2.25
JBoss 6.1.0
서버보안 Agent
APM Agent
SMS Agent
게임관리 Web Application
GPFS 스토리지 파일공유
RedHat Enterprise Linux 5.8
EZWay
SMS Agent
IBM AIX 6.1
EZWay
HACMP 이중화
APM Agent
SMS Agent
Backup Agent (NetWorker)
Backup Agent (NetWorker)
SMS Agent
Backup Agent (NetWorker)
SMS Agent
HACMP 이중화
서버보안 Agent
온라인 감사처리서버 #1 ~ 2
온라인 감사관리서버 #1 ~ 2
온라인 감사DB서버 #1 ~ 2
전자 감사처리/관리 #1 ~ 2
전자 감사DB서버 #1 ~ 2
인쇄 감사처리/관리 #1 ~ 2
인쇄 감사DB서버 #1 ~ 2
hostname | PONADTHDL01,02
model | IBM P760
cpu | 3.1 GHz * 6 core
memory | 32 GB
disk | 300 GB * 2 Disk
hostname | PONADTMNG01,02
model | IBM X3650 M4
cpu | 2.4 GHz * 4 core
memory | 8 GB
disk | 300 GB * 2 Disk
hostname | PECADT01,02
model | IBM X3650 M4
cpu | 2.4 GHz * 4 core
memory | 12 GB
disk | 300 GB * 2 Disk
hostname | PECADTDB01,02
model | IBM P710
cpu | 3.6 GHz * 1 core
memory | 16 GB
disk | 300 GB * 2 Disk
hostname | PPRTADT01,02
model | IBM X3650 M4
cpu | 2.4 GHz * 4 core
memory | 8 GB
disk | 300 GB * 2 Disk
hostname | PPRTADTDB01,02
model | IBM P710
cpu | 3.6 GHz * 1 core
memory | 8 GB
disk | 300 GB * 2 Disk
hostname | PONADTDB01,02
model | IBM P760
cpu | 3.1 GHz * 6 core
memory | 40 GB
disk | 300 GB * 2 Disk
IBM AIX 6.1
Apache Web Server 2.2.25
JBoss 6.1.0
Oracle 11g Standard HA
D'Amo
감사관리 Web Application
HACMP 이중화
RedHat Enterprise Linux 5.8
Apache Web Server 6.1.0
JBoss 2.2.25
APM Agent
감사처리 Application
APM Agent
SMS Agent
IBM AIX 6.1
SMS Agent
Backup Agent (NetWorker)
감사관리 Web Application
감사처리 Application
SMS Agent
RedHat Enterprise Linux 5.8
감사처리 Application
SMS Agent
RedHat Enterprise Linux 5.8
IBM AIX 6.1
Apache Web Server 2.2.25
JBoss 6.1.0
Oracle 11g Enterprise HA
D'Amo
감사관리 Web Application
HACMP 이중화
IBM AIX 6.1
Oracle 11g Enterprise HA
HACMP 이중화
SMS Agent
Backup Agent (NetWorker)
Backup Agent (NetWorker)
Backup Agent (NetWorker)
SMS Agent
Backup Agent (NetWorker)
SMS Agent
감사백업서버 #1 ~ 2
hostname | PADTBACKUPSVR
model | IBM X3650 M4
cpu | 2.4 GHz * 4
memory | 8 GB
disk | 300 GB * 2 Disk
MS Window 2008 R2 SP1
서버보안 Agent
서버보안 Agent
서버보안 Agent
서버보안 Agent
서버보안 Agent
서버보안 Agent
서버보안 Agent
온라인복권 및 포털 웹 서버 #1 ~ 4
온라인복권 당첨확인 및
지급 웹서버 #1 ~ #2
전자복권 발행/판매
웹컨텐츠 서버 #1 ~ #4
인쇄복권웹컨텐츠서버#1~#2
동영상 서버 #1
hostname | PPTLWEBSVR01~04
model | IBM X3650 M4
cpu | 2.4 GHz * 4 core
memory | 16 GB
disk | 300 GB * 2 Disk
RedHat Enterprise Linux 6.4
Tmax. WebToB
]
RedHat Enterprise Linux 6.4
Tmax. Jeus
hostname | PWINRCFMPAYWEB01,02
model | IBM X3650 M4
cpu | 2.4 GHz * 4 core
memory | 16 GB
disk | 300 GB * 2 Disk
RedHat Enterprise Linux 6.4
Tmax. Jeus
RedHat Enterprise Linux 6.4
Tmax. Jeus
RedHat Enterprise Linux 6.4
WeAnd. Streaming
hostname | PECISSUESELL01~04
model | IBM X3650 M4
cpu | 2.4 GHz * 8 core
memory | 16 GB
disk | 300 GB * 2 Disk
hostname | PPRTWEB01,02
model | IBM X3650 M4
cpu | 2.4 GHz * 8 core
memory | 16 GB
disk | 300 GB * 2 Disk
hostname | PPROMOTESVR
model | IBM X3650 M4
cpu | 2.4 GHz * 8 core
memory | 16 GB
disk | 500 GB * 8 Disk
jennifer Agent
jennifer Agent
서버보안 Agent
서버보안 Agent
SMS Agent
SMS Agent
SMS Agent
Backup Agent (Avmar)
Backup Agent (Avmar)
서버보안 Agent
서버보안 Agent
온라인게임관리개발서버 #1
통신개발서버 #1
온라인게임처리개발서버 #1
암호화개발서버 #1
게임감사처리개발서버 #1
게임감사관리개발서버 #1
온라인개발DB #1
hostname | PGAMEHDLDEV
model | IBM P760
cpu | 2 core
memory | 8 GB
disk | 300 GB * 2 Disk
hostname | PGAMEMNGDEV
model | IBM P760
cpu | 1 core
memory | 8 GB
disk | 300 GB * 2 Disk
hostname | PONADTHDLDEV
model | IBM P760
cpu | 1 core
memory | 8 GB
disk | 300 GB * 2 Disk
hostname | PONADTMNGDEV
model | IBM P760
cpu | 1 core
memory | 8 GB
disk | 300 GB * 2 Disk
hostname | PONDBDEV
model | IBM P760
cpu | 2 core
memory | 16 GB
disk | 300 GB * 2 Disk
hostname | PCOMMGATEDEV
model | IBM X3650 M4
cpu | 4 core
memory | 16 GB
disk | 300 GB * 2 Disk
hostname | PENCRYPTDEV
model | IBM X3650 M4
cpu | 2 core
memory | 16 GB
disk | 300 GB * 2 Disk
IBM AIX 6.1
IBM AIX 6.1
IBM AIX 6.1
IBM AIX 6.1
Oracle 11g Enterprise
RedHat Enterprise Linux 6.4
EZWay
Apache Web Server 2.2.25
SSL 서버인증서
JBoss 6.1.0
Apache Web Server 2.2.25
JBoss 6.1.0
게임관리 Web Application
감사관리 Web Application
IBM AIX 6.1
EZWay
서버보안 Agent
감사처리 Application
서버보안 Agent
서버보안 Agent
RedHat Enterprise Linux 5.8
EZWay
포탈
/
개발
인쇄
/
전자복권
감사처리영역
통신영역
연계영역
온라인게임처리영역
Backup Agent (NetWorker)
Backup Agent (NetWorker)
Backup Agent (NetWorker)
Backup Agent (NetWorker)
Backup Agent (NetWorker)
Backup Agent (NetWorker)
SMS Agent
Backup Agent (NetWorker)
SMS Agent
Backup Agent (NetWorker)
Jeniffer 4.5 Server
SMS Agent
Backup Agent (NetWorker)
SMS Agent
Backup Agent (NetWorker)
SMS Agent
Backup Agent (NetWorker)
SMS Agent
Backup Agent (NetWorker)
SMS Agent
Backup Agent (NetWorker)
SMS Agent
Backup Agent (NetWorker)
SMS Agent
Backup Agent (NetWorker)
SMS Agent
Backup Agent (Avmar)
SMS Agent
Backup Agent (Avmar)
Backup Agent (Avmar)
Backup Agent (NetWorker)
온라인조회 및 지불개발서버 #1
전자복권발행개발 #1
전자복권판매개발 #1
인쇄복권 및 웹개발 #1
전자인쇄개발DB #1
IBM AIX 6.1
HP UX 11i v3
IBM AIX 6.1
IBM AIX 6.1
hostname | PONSRCHPAYDEV
model | IBM P720
cpu | 1 core
memory | 6 GB
disk | 
hostname | elpdev
model | HP rx2800
cpu | 2 core
memory | 8 GB
disk | 
hostname | elsdev
model | IBM P720
cpu | 2 core
memory | 8 GB
disk | 
hostname | lpdev
model | IBM P720
cpu | 1 core
memory | 6 GB
disk | 
IBM AIX 6.1
hostname | elpdevdb
model | IBM P720
cpu | 3 core
memory | 6 GB
disk | 
Oracle 11g Enterprise
Tmax. WebToB
Tmax. Jeus
서버보안 Agent
서버보안 Agent
온라인복권 및 웹개발서버 #1
IBM AIX 6.1
Tmax. WebToB
Tmax. Jeus
서버보안 Agent
서버보안 Agent
서버보안 Agent
분배개발서버 #1
IBM AIX 6.1
Tmax. WebToB
Tmax. Jeus
hostname | PONWEBDEV
model | IBM P720
cpu | 1 core
memory | 6 GB
disk | 
hostname | PUPDATEDEV
model | IBM P720
cpu | 1 core
memory | 4 GB
disk | 
통합운영웹서버 #1
파일서버 #1
형상관리서버 #1
SMS 서버 #1
NMS 서버 #1
ITSM 운영서버 #1
APM 전용서버 #1
관리DB서버1 #1
관리DB서버2 #1
ESM 서버 #1
서버보안관리서버 #1
PC보안관리서버 #1
hostname | PAPMAP
model | HP rx2800
cpu | 2.53 GHz * 16 core
memory | 160 GB
disk | 300 GB * 2 Disk
hostname | PITSMDB
model | IBM X3750 M4
cpu | 2.2 GHz * 16 core
memory | 32 GB
disk | 300 GB * 2 Disk
hostname | PESMSVR
model | IBM X3750 M4
cpu | 2.2 GHz * 16 core
memory | 32 GB
disk | 300 GB * 2 Disk
hostname | PSVRSECURITYSVR
model | IBM X3650 M4
cpu | 2.4 GHz * 8 core
memory | 16 GB
disk | 300 GB * 2 Disk
hostname | PPCSECURITYSVR
model | IBM X3650 M4
cpu | 2.4 GHz * 8 core
memory | 16 GB
disk | 300 GB * 2 Disk
hostname | PITSMAP
model | IBM X3650 M4
cpu | 2.4 GHz * 8 core
memory | 16 GB
disk | 300 GB * 2 Disk
hostname | PNMSAP
model | IBM X3750 M4
cpu | 2.2 GHz * 16 core
memory | 32 GB
disk | 300 GB * 2 Disk
hostname | PSMSDB
model | IBM X3750 M4
cpu | 2.2 GHz * 16 core
memory | 32 GB
disk | 300 GB * 2 Disk
hostname | PFILESVR
model | IBM X3650 M4
cpu | 2.4 GHz * 4 core
memory | 16 GB
disk | 300 GB * 2 Disk
hostname | PSRCAP
model | IBM X3650 M4
cpu | 2.4 GHz * 8 core
memory | 16 GB
disk | 300 GB * 2 Disk
hostname | PSMSAP
model | IBM X3650 M4
cpu | 2.4 GHz * 8 core
memory | 16 GB
disk | 300 GB * 2 Disk
hostname | POPRWEBSVR
model | IBM X3650 M4
cpu | 2.4 GHz * 8 core
memory | 16 GB
disk | 300 GB * 2 Disk
ESM DB 서버 #1
hostname | PESMDB
model | IBM X3650 M4
cpu | 2.4 GHz * 8 core
memory | 16 GB
disk | 300 GB * 2 Disk
HP UX 11i v3
HP. OpenMCM Master
MS Window 2008 R2 SP1
RedHat Enterprise Linux 5.8 (32bit)
MS Window 2008 R2 SP1
MS Window 2008 R2 SP1
MS SQL 2012 Stanard (CAL 20명)
MS Window 2008 R2 SP1
HP. Service Manager 9
SMS Agent
ESM. TSMA
RedCastle Manager
ESCORT
MS Window 2008 R2 SP1
HP. Network Node Manager 9i
SMS Agent
SMS Agent
Backup Agent (NetWorker)
MS Window 2008 R2 SP1
HP. Operation Manager 9
RedHat Enterprise Linux 5.8 (32bit)
Oracle 11g Standard
MS Window 2008 R2 SP1
MS SQL 2012 Stanard (CAL 20명)
SMS Agent
Backup Agent (NetWorker)
SMS Agent
SMS Agent
SMS Agent
SMS Agent
MS Window 2008 R2 SP1
RedHat Enterprise Linux 6.4
Oracle 11g Standard 10 user
윈도우파일공유CAL License 100명
아카이브테크놀로지. ASTA
Fowave. FRISIM SCM
SMS Agent
RedHat Enterprise Linux 6.4
Apache Web Server
JBoss
웹로그
비즈메일러
Backup Agent (NetWorker)
운영관리영역
SMS Agent
온라인복권 당첨확인 및
지급서버 #1 ~ #2
hostname | PWINRCFMPAY01,02
model | IBM X3650 M4
cpu | 2.4 GHz * 4 core
memory | 16 GB
disk | 300 GB * 2 Disk
RedHat Enterprise Linux 6.4
Tmax jeus 6.0
SMS Agent
Backup Agent (NetWorker)
백신서버 #1
hostname | PVACCINESVR
model | IBM X3650 M4
cpu | 2.4 GHz * 8 core
memory | 16 GB
disk | 300 GB * 2 Disk
IBM AIX 6.1
AhnLab Update Server
SMS Agent
서버보안 Agent

## Slide 2
소프트웨어 구성도
KT분당전산센터(BDC영역)
[발행]즉석
[발행]추첨#1,#2
[발행]DB#1,#2
[발행]통신#1,#2
[발행]내부관리#1,#2
[발행]추첨기#1,#2,#3
판매 WAS#1,#2
판매 DB#1,#2
판매 통신#1,#2
판매 내부관리#1,#2
암호화서버 #1 ~ 2
게임관리서버 #1 ~ 2
게임DB서버 #1 ~ 2
분배서버 #1 ~ 2
통합백업서버 #1 ~ 2
연계HUB #1 ~ 2
hostname | BEAIHUBSVR01,02
model | IBM P710
cpu | 3.6 GHz * 2 core
memory | 8 GB
disk | 300 GB * 2 Disk
AIX 6.1
EAI - MocoMSys. Midas
HACMP 이중화
hostname | BGAMEMNG01,02
model | IBM P720
cpu | 2.4 GHz * 2 core
memory | 16 GB
disk | 300 GB * 2 Disk
hostname | BGAMEDB01, 02
model | IBM P760
cpu | 2.4 GHz * 6 core
memory | 56 GB
disk | 300 GB * 2 Disk
hostname | BUPDATESVR01,02
model | IBM P710
cpu | 2.4 GHz * 2 core
memory | 8 GB
disk | 300 GB * 2 Disk
hostname | BBACKUPSVR
model | IBM X3650 M4
cpu | 2.6 GHz * 6
memory | 16 GB
disk | 300 GB * 2 Disk
hostname | BENCRYPT01, 02
model | IBM X3650 M4
cpu | 2.4 GHz * 8 core
memory | 16 GB
disk | 300 GB * 2 Disk
Hostname | elpilp1,2
Model | HP rx2800 i4
CPU | 2.53GHz * 4Core
Memory | 16GB
Disk | 300GB * 2
HP-UX 11.31 ia64
HP-UX 11.31 ia64
HP-UX 11.31 ia64
HP MC/SG
Hostname | elpdlp1,2
Model | HP rx2800 i4
CPU | 2.53GHz * 4Core
Memory | 16GB
Disk | 300GB * 2
Hostname | elpdb1,2
Model | HP rx2800 i4
CPU | 2.53GHz * 8Core
Memory | 32GB
Disk | 300GB * 2
Hostname | elpcs1,2
Model | HP rx2800 i4
CPU | 2.4GHz * 4Core
Memory | 16GB
Disk | 300GB * 2
Hostname | elswas1,2
Model | IBM p710
CPU | 3.6GHz * 4Core
Memory | 16GB
Disk | 300GB * 2
AIX 6.1 ML08
HP-UX 11.31 ia64
AIX 6.1 ML08
AIX 6.1 ML08
Hostname | elsdb1,2
Model | HP rx2800 i4
CPU | 2.4GHz * 4Core
Memory | 16GB
Disk | 300GB * 2
Hostname | elsrs1,2
Model | IBM p710
CPU | 3.6GHz * 4Core
Memory | 16GB
Disk | 300GB * 2
Hostname | elscs1,2
Model | IBM p710
CPU | 3.6GHz * 4Core
Memory | 16GB
Disk | 300GB * 2
Oracle 11g Enterprise RAC
Windows 2012 Std.
Hostname | elplw1,2,3
Model | HP DL380 G8
CPU | 3.0GHz * 2Core
Memory | 2GB
Disk | 160GB * 1
HP MC/SG
Oracle 11g Enterprise RAC
Jennifer 4.5 agent
Jennifer 4.5 Server/agent
Tmax jeus 6.0
JDK 1.6.0.16
HP-UX 11.31 ia64
Jennifer 4.5 agent
JDK 1.6.0.16
즉석 응용 SW
추첨 응용 SW
내부관리 응용 SW
Hostname | elprs1,2
Model | HP rx2800 i4
CPU | 2.53GHz * 4Core
Memory | 16GB
Disk | 300GB * 2
HP-UX 11.31 ia64
통신 응용 SW
JDK 1.6.0.16
통신서버 #1 ~ 21
hostname | BCOMMGATE01,21
model | IBM X3650 M4
cpu | 2.4 GHz * 8 core
memory | 8 GB
disk | 300 GB * 2 Disk
게임처리서버 #1 ~ 2
hostname | BGAMEHDL01,02
model | IBM P760
cpu | 2.4 GHz * 8 core
memory | 32 GB
disk | 300 GB * 2 Disk
Backup Agent (NetWorker)
IBM AIX 6.1
IBM AIX 6.1
RedHat Enterprise Linux 5.8
EZWay
Oracle 11g Enterprise RAC
EZWay
GPFS 스토리지 파일공유
서버보안 Agent
MS Window 2008 R2 SP1
SSL 서버인증서
SMS Agent
Backup Agent (NetWorker)
IBM AIX 6.1
Apache Web Server 2.2.25
JBoss 6.1.0
서버보안 Agent
APM Agent
SMS Agent
게임관리 Web Application
GPFS 스토리지 파일공유
RedHat Enterprise Linux 5.8
EZWay
SMS Agent
IBM AIX 6.1
EZWay
HACMP 이중화
APM Agent
SMS Agent
Backup Agent (NetWorker)
Backup Agent (NetWorker)
SMS Agent
Backup Agent (NetWorker)
SMS Agent
HACMP 이중화
서버보안 Agent
온라인 감사처리서버 #1 ~ 2
온라인 감사관리서버 #1 ~ 2
온라인 감사DB서버 #1 ~ 2
전자 감사처리/관리 #1 ~ 2
전자 감사DB서버 #1 ~ 2
인쇄 감사처리/관리 #1 ~ 2
인쇄 감사DB서버 #1 ~ 2
hostname | BONADTHDL01,02
model | IBM P760
cpu | 3.1 GHz * 6 core
memory | 32 GB
disk | 300 GB * 2 Disk
hostname | BONADTMNG01,02
model | IBM X3650 M4
cpu | 2.4 GHz * 4 core
memory | 8 GB
disk | 300 GB * 2 Disk
hostname | BECADT01,02
model | IBM X3650 M4
cpu | 2.4 GHz * 4 core
memory | 12 GB
disk | 300 GB * 2 Disk
hostname | BECADTDB01,02
model | IBM P710
cpu | 3.6 GHz * 1 core
memory | 16 GB
disk | 300 GB * 2 Disk
hostname | BPRTADT01,02
model | IBM X3650 M4
cpu | 2.4 GHz * 4 core
memory | 8 GB
disk | 300 GB * 2 Disk
hostname | BPRTADTDB01,02
model | IBM P710
cpu | 3.6 GHz * 1 core
memory | 8 GB
disk | 300 GB * 2 Disk
hostname | BONADTDB01,02
model | IBM P760
cpu | 3.1 GHz * 6 core
memory | 40 GB
disk | 300 GB * 2 Disk
IBM AIX 6.1
Apache Web Server 2.2.25
JBoss 6.1.0
Oracle 11g Standard HA
D'Amo
감사관리 Web Application
HACMP 이중화
RedHat Enterprise Linux 5.8
Apache Web Server 6.1.0
JBoss 2.2.25
APM Agent
감사처리 Application
APM Agent
SMS Agent
IBM AIX 6.1
SMS Agent
Backup Agent (NetWorker)
감사관리 Web Application
감사처리 Application
SMS Agent
RedHat Enterprise Linux 5.8
감사처리 Application
SMS Agent
RedHat Enterprise Linux 5.8
IBM AIX 6.1
Apache Web Server 2.2.25
JBoss 6.1.0
Oracle 11g Enterprise HA
D'Amo
감사관리 Web Application
HACMP 이중화
IBM AIX 6.1
Oracle 11g Enterprise HA
HACMP 이중화
SMS Agent
Backup Agent (NetWorker)
Backup Agent (NetWorker)
Backup Agent (NetWorker)
SMS Agent
Backup Agent (NetWorker)
SMS Agent
감사백업서버 #1 ~ 2
hostname | BADTBACKUPSVR
model | IBM X3650 M4
cpu | 2.4 GHz * 4 core
memory | 8 GB
disk | 300 GB * 2 Disk
MS Window 2008 R2 SP1
서버보안 Agent
서버보안 Agent
서버보안 Agent
서버보안 Agent
서버보안 Agent
온라인복권 및 포털 웹 서버 #1 ~ 4
온라인복권 당첨확인 및
지급 웹서버 #1 ~ #2
전자복권 발행/판매
웹컨텐츠 서버 #1 ~ #4
인쇄복권웹컨텐츠서버 #1~#2
동영상 서버 #1
hostname | BPTLWEBSVR01~04
model | IBM X3650 M4
cpu | 2.4 GHz * 4 core
memory | 16 GB
disk | 300 GB * 2 Disk
RedHat Enterprise Linux 6.4
Tmax. WebToB
]
RedHat Enterprise Linux 6.4
Tmax. Jeus
hostname | BWINRCFMPAYWEB01,02
model | IBM X3650 M4
cpu | 2.4 GHz * 4 core
memory | 16 GB
disk | 300 GB * 2 Disk
RedHat Enterprise Linux 6.4
Tmax. Jeus
RedHat Enterprise Linux 6.4
Tmax. Jeus
RedHat Enterprise Linux 6.4
WeAnd. Streaming
hostname | BECISSUESELL01~04
model | IBM X3650 M4
cpu | 2.4 GHz * 8 core
memory | 16 GB
disk | 300 GB * 2 Disk
hostname | BPRTWEB01,02
model | IBM X3650 M4
cpu | 2.4 GHz * 8 core
memory | 16 GB
disk | 300 GB * 2 Disk
hostname | BPROMOTESVR
model | IBM X3650 M4
cpu | 2.4 GHz * 8 core
memory | 16 GB
disk | 500 GB * 8 Disk
jennifer Agent
jennifer Agent
서버보안 Agent
서버보안 Agent
SMS Agent
SMS Agent
SMS Agent
Backup Agent (Avmar)
Backup Agent (Avmar)
서버보안 Agent
서버보안 Agent
포탈
/
개발
인쇄
/
전자복권
감사처리영역
통신영역
연계영역
온라인게임처리영역
Backup Agent (NetWorker)
Backup Agent (NetWorker)
Backup Agent (NetWorker)
Backup Agent (NetWorker)
Backup Agent (NetWorker)
SMS Agent
Backup Agent (NetWorker)
SMS Agent
Backup Agent (NetWorker)
Jeniffer 4.5 Server
SMS Agent
Backup Agent (NetWorker)
SMS Agent
Backup Agent (NetWorker)
SMS Agent
Backup Agent (NetWorker)
SMS Agent
Backup Agent (NetWorker)
SMS Agent
Backup Agent (NetWorker)
SMS Agent
Backup Agent (Avmar)
SMS Agent
Backup Agent (Avmar)
Backup Agent (Avmar)
Backup Agent (NetWorker)
통합운영웹서버 #1
파일서버 #1
형상관리서버 #1
SMS 서버 #1
NMS 서버 #1
ITSM 운영서버 #1
APM 전용서버 #1
관리DB서버1 #1
관리DB서버2 #1
ESM 서버 #1
서버보안관리서버 #1
PC보안관리서버 #1
hostname | BAPMAP
model | HP rx2800
cpu | 2.53 GHz * 16 core
memory | 160 GB
disk | 300 GB * 2 Disk
hostname | BITSMDB
model | IBM X3750 M4
cpu | 2.2 GHz * 16 core
memory | 32 GB
disk | 300 GB * 2 Disk
hostname | BESMSVR
model | IBM X3750 M4
cpu | 2.2 GHz * 16 core
memory | 32 GB
disk | 300 GB * 2 Disk
hostname | BSVRSECURITYSVR
model | IBM X3650 M4
cpu | 2.4 GHz * 8 core
memory | 16 GB
disk | 300 GB * 2 Disk
hostname | BPCSECURITYSVR
model | IBM X3650 M4
cpu | 2.4 GHz * 8 core
memory | 16 GB
disk | 300 GB * 2 Disk
hostname | BITSMAP
model | IBM X3650 M4
cpu | 2.4 GHz * 8 core
memory | 16 GB
disk | 300 GB * 2 Disk
hostname | BNMSAP
model | IBM X3750 M4
cpu | 2.2 GHz * 16 core
memory | 32 GB
disk | 300 GB * 2 Disk
hostname | BSMSDB
model | IBM X3750 M4
cpu | 2.2 GHz * 16 core
memory | 32 GB
disk | 300 GB * 2 Disk
hostname | BFILESVR
model | IBM X3650 M4
cpu | 2.4 GHz * 4 core
memory | 16 GB
disk | 300 GB * 2 Disk
hostname | BSRCAP
model | IBM X3650 M4
cpu | 2.4 GHz * 8 core
memory | 16 GB
disk | 300 GB * 2 Disk
hostname | BSMSAP
model | IBM X3650 M4
cpu | 2.4 GHz * 8 core
memory | 16 GB
disk | 300 GB * 2 Disk
hostname | BOPRWEBSVR
model | IBM X3650 M4
cpu | 2.4 GHz * 8 core
memory | 16 GB
disk | 300 GB * 2 Disk
ESM DB 서버 #1
hostname | BESMDB
model | IBM X3650 M4
cpu | 2.4 GHz * 8 core
memory | 16 GB
disk | 300 GB * 2 Disk
HP UX 11i v3
HP. OpenMCM Master
MS Window 2008 R2 SP1
RedHat Enterprise Linux 5.8 (32bit)
MS Window 2008 R2 SP1
MS Window 2008 R2 SP1
MS SQL 2012 Stanard (CAL 20명)
MS Window 2008 R2 SP1
HP. Service Manager 9
SMS Agent
ESM. TSMA
RedCastle Manager
ESCORT
MS Window 2008 R2 SP1
HP. Network Node Manager 9i
SMS Agent
SMS Agent
Backup Agent (NetWorker)
MS Window 2008 R2 SP1
HP. Operation Manager 9
RedHat Enterprise Linux 5.8 (32bit)
Oracle 11g Standard
MS Window 2008 R2 SP1
MS SQL 2012 Stanard (CAL 20명)
SMS Agent
Backup Agent (NetWorker)
SMS Agent
SMS Agent
SMS Agent
SMS Agent
MS Window 2008 R2 SP1
RedHat Enterprise Linux 6.4
Oracle 11g Standard 10 user
윈도우파일공유CAL License 100명
아카이브테크놀로지. ASTA
Fowave. FRISIM SCM
SMS Agent
RedHat Enterprise Linux 6.4
Apache Web Server
JBoss
웹로그
비즈메일러
Backup Agent (NetWorker)
운영관리영역
SMS Agent
온라인복권당첨확인및지급웹서버 #2
hostname | BWINRCFMPAY01,02
model | IBM X3650 M4
cpu | 2.4 GHz * 4 core
memory | 16 GB
disk | 300 GB * 2 Disk
RedHat Enterprise Linux 6.4
Tmax jeus 6.0
SMS Agent
Backup Agent (NetWorker)
백신서버 #1
hostname | PVACCINESVR
model | IBM X3650 M4
cpu | 2.4 GHz * 8 core
memory | 16 GB
disk | 300 GB * 2 Disk
IBM AIX 6.1
AhnLab Update Server
SMS Agent
SMS Agent